## 1. Application Details
SuDS SUBMISSION APPLICATION AND APPROVAL CHECKLIST "THE CHECKLIST"
SECTION 1. INSTRUCTIONS & APPLICATION DETAILS
Applications may be made either as: - Pre Application Advice: - Minor Developments - Major Developments - Outline Application (with one or more matters reserved for later determination) - Full Application The level of information required will vary depending on stage of the application, the size of the development, flood risk, constraints and proposed sustainable drainage system. Sections 1 to 5 of this Application and Approval Checklist specifies the information required and should be completed by Applicant. ü - A requirement with supporting information to be provided C - Consideration is to be given to the issue. Available information is required, but it is recognised that full details may not be confirmed at this stage. Reponses should include reference to supporting information which should be provided. Applicants are to ensure that the relevant details and supporting information are provided (in both hard and soft copy) before submitting the application to the Council.
TO BE COMPLETED BY DEVELOPER
APPLICATION DETAILS
Planning Authority:
Application Reference Number (if known):
Application Submission Date:
CURRENT APPLICATION STAGE
Pre Application Advice
Minor Application
Major - Outline Application
Major - Full Application
APPLICANT DETAILS
Applicant / Agent Name
Applicant /Agent Postal Address
Applicant / Agent Email
Applicant / Agent Telephone Number
I confirm that the SuDS documentation submitted above complies with the Council’s SuDS Guidance Documentation, Local Planning Policies and all relevant National Legislation, Policies and Guidance.
Signed: | Name:
Appointment: | Company
TO BE COMPLETED BY LOCAL AUTHORITY
APPLICATION DETAILS
Planning Authority:
Application Reference Number:
Date Application Received:
Date Review Submitted:
CURRENT APPLICATION STAGE
Pre Application Advice
Minor Application
Major - Outline Application
Major - Full Application
LOCAL AUTHORITY REVIEW
Sufficient information has been provided to inform SuDS review
Drainage Strategy and design of SuDS is suitable for current Application Stage
Summary of SuDS proposals
Key Observations
Further Information Required
Recommendations

## 2. SuDS Proposals
[7 empty] | Developer Response |  |  |  |  | Local Authority Review
SECTION 2. GENERAL DETAILS & SuDS PROPOSALS |  |  | Details Required For: |  |  |  | Current Submission Stage: |  |  |  | Developer's response including reference to supporting information and documents | Local Authority Review Comments | Acceptable Y / N / TBC
|  |  | Pre-Application | Minor Development | Outline | Full | Pre-Application | Minor Application | Outline | Full
Ref. | Required Details Please provide all relevant details. Insufficient detail or evidence may lead to delay or refusal. | Cheshire Councils SuDS Guidance Reference |  | Minor Applications |  |  |  | Minor Applications
2.1 | EXISTING SITE FLOOD RISK
2.1.1 | Confirm that a Site Specific Flood Risk Assessment has been undertaken to confirm all flood risk interactions. (Provide supporting documents including an FRA and drainage strategy) | Volume 1. Section 3.3 | C | ü | ü | ü
2.1.2 | Does the site lie within the coastal / tidal flood outlines shown on the Environment Agency flood map? (Confirm Flood Zone and interactions with drainage strategy) | Volume 1. Section 3.3 | ü | ü | ü | ü
2.1.3 | Does the site lie within the fluvial flood outlines shown on the Environment Agency flood map? (Confirm Flood Zone and interactions with drainage strategy) | Volume 1. Section 3.3 | ü | ü | ü | ü
2.1.4 | Does the site lie within the pluvial (surface water) flood outlines shown on the Environment Agency flood map? (Confirm Flood Zone and offsite interaction with drainage strategy) | Volume 1. Section 3.3 | ü | ü | ü | ü
2.2 | PROPOSED SUDS APPROACH
The 'management train' concepts aims to highlight how a series of SuDS techniques may be employed in terms of prevention, source control, site control and regional controls. Please indicated how SuDS and surface water runoff is to be managed as part of the development. A brief description is required and a reference to where full information is found in your submission.
2.2.1 | Confirm how surface water runoff will be managed? i.e. reducing / preventing the introduction of impermeable surfaces. (Provide details and summary) | Volume 1. Section 4 & 5 & Appendix C SuDS Suitability Matrix | C | ü | ü | ü
2.2.2 | Confirm how surface water will be managed at the source? i.e. restricting / reducing runoff to receptors within the catchment. (Provide details and summary) | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.2.3 | Confirm how surface water will be managed on the surface? i.e. filter strips, swales etc. (Provide details and summary) | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.2.4 | Confirm how surface water runoff will be integrated within public spaces? i.e. blue green networks and temporary storage. (Provide details and summary) | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.2.5 | Confirm any likely environmental or technical constraints to SuDS. (Provide details and summary) | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.3 | SITE PLANS - including: (Provide details for the following)
2.3.1 | Site location and red line boundary | Volume 1. Section 4 & 5 | ü | ü | ü | ü
2.3.2 | Existing watercourses, waterbodies and interactions with proposed drainage strategy | Volume 1. Section 4 & 5 | ü | ü | ü | ü
2.3.3 | Existing and proposed ground levels and site contours | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.3.4 | Existing and proposed highways, and access routes including associated drainage | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.3.5 | Existing and proposed Sewers | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.3.6 | Existing and residual surface water flood flow routes | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.3.7 | Borehole / trial pit locations | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.3.8 | Proposed building locations and finished floor levels | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.4 | DRAINAGE STRATEGY - including: (Provide details and summary)
2.4.1 | Confirm SuDS proposals, including storage requirements. (Developer to confirm design and provide supporting information) | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.4.2 | Provide a SuDS layout site plan including, for example, levels, design water levels and distance from nearest buildings, structure and controls. | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.4.3 | Confirm the proposed development area (in hectares) | Volume 1. Section 4 & 5 | ü | ü | ü | ü
2.4.4 | Confirm the percentage of the proposed development area which is impervious for both existing and post development scenarios. | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.4.5 | Confirm the SuDS management train, clearly stating those parts of drainage system to remain private and those to be adopted. | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.4.6 | Provide a plan showing post development surface water flood flow routes. | Volume 1. Section 4 & 5 | C | C | ü | ü
2.4.10 | Confirm the proposed discharge locations (including justification) and confirm interactions with the receiving watercourse | Volume 1. Section 4 & 5 | C | ü | ü | ü
2.5 | DETAILED DRAINAGE DESIGN (IN ADDITION TO DETAILS PROVIDED FOR OUTLINE DRAINAGE STRATEGY) including:
2.5.1 | Provide detail of flow controls | Volume 1. Section 4 & 5 | C | ü | C | ü
2.5.2 | Provide details of proposed fencing and planting plan | Volume 1. Section 4 & 5 | C | ü | C | ü
2.5.3 | Ground investigation reports including ground percolation rates | Volume 1. Section 4 & 5 | C | C | ü | ü
2.5.4 | Contaminated land reports and contamination levels assessment | Volume 1. Section 4 & 5 | C | C | C | ü
2.5.5 | Provide details of safe design and design risk assessment | Volume 1. Section 4 & 5 | C | ü | C | ü
2.5.7 | Estimate the costs (Provide supporting information) | Volume 1. Section 4 & 5 | C | ü | C | ü
Note on B40: todo2085: That is already asked for in section (tab) 4.
Note on B43: todo2085: Which costs?

## 3. SuDS Hydraulic Assessment
[7 empty] | Developer Response |  |  |  |  | Local Authority Review
SECTION 3. HYDRAULIC ASSESSMENT OF SuDS PROPOSALS |  |  | Details Required For: |  |  |  | Current Submission Stage: |  |  |  | Developer's response including reference to supporting information and documents | Local Authority Review Comments | Acceptable Y / N / TBC
|  |  | Pre-Application | Minor Development | Outline | Full | Pre-Application | Minor Application | Outline | Full
Ref. | Required Details Please provide all relevant details. Insufficient detail or evidence may lead to delay or refusal. | Cheshire Councils SuDS Guidance Reference |  | Minor Applications |  |  |  | Minor Applications
3.1 | SURFACE WATER PEAK RUNOFF RATE
3.1.1 | Confirm simulation modelling has been undertaken to calculate peak runoff rate? (Provide simulation modelling/calculations/supporting documents) | Volume 1. Section 4.7 | C | ü | C | ü
3.1.2 | For greenfield developments - does the peak runoff rate exceed the 1 in 1 year and 1 in 100 year rainfall events? (identify in supporting documents) | Volume 1. Section 4.7 | C | ü | ü | ü
3.1.3 | For previously developed sites - is the 1 in 1 year and 1 in 100 year peak runoff rate as close as is reasonably practical to the greenfield runoff rate? (identify in supporting documents) | Volume 1. Section 4.7 | C | ü | ü | ü
3.1.4 | Using the calculation below, what is the greenfield runoff peak flow? QBARrural = 1.08(AREA/100)0.89 SAAR1.17 SOIL2.17 | Volume 1. Section 4.7 & Appendix B | C | ü | ü | ü
3.2 | SURFACE RUNOFF DISCHARGE VOLUMES
3.2.1 | Confirm the estimated greenfield runoff volume up to the 1 in 100 year, 6 hour rainfall event? (identify in supporting documents) | Volume 1. Section 4.7 | C | ü | ü | ü
3.2.2 | For greenfield developments - does the runoff volume in the 1 in 100 year, 6 hour rainfall event exceed the greenfield runoff volume? (identify in supporting documents) | Volume 1. Section 4.7 | C | ü | ü | ü
3.2.3 | For previously developed sites - is the runoff volume in the 1 in 100 year, 6 hour rainfall event as close as is reasonably practical to the greenfield runoff volume? (identify in supporting documents) | Volume 1. Section 4.7 | C | ü | ü | ü
3.2.4 | What method or methods are proposed to attenuate additional volume up to the 100 year event? (identify in supporting documents) | Volume 1. Section 4.7 | C | ü | ü | ü
3.2.5 | What % allowance has been included for climate change and development creep? (identify in supporting documents) | Volume 1. Section 4.7 | C | ü | ü | ü
3.3 | RESIDUAL FLOOD RISK
3.3.1 | Do the proposed SuDS function without flooding any part of the site at the critical 1 in 30 year flood event? (identify in supporting documents) | Volume 1. Section 4.7 | C | ü | ü | ü
3.3.2 | Does the proposed SuDS function without flooding a building (including a basement) or utility plant susceptible to water (such as a pumping station or electricity substation) up to the 1 in 100 year flood event? (identify in supporting documents) | Volume 1. Section 4.7 | C | ü | ü | ü
3.3.3 | Have sensitivity checks for climate change and development creep been considered? | Volume 1. Section 4.7 | C | ü | C | ü
Note on B8: todo2085: There is no section that is requiring information related to attenuation- how big is the attenuation, the return period used to size the attenuation etc.
Note on B9: todo2085: Are we allowed to ask for that?
Note on B12: todo2085: Are we asking them to reduce to Qbarrural or to Q1year and Q100year as these are different things?
Note on B18: todo2085: This question is more related to attenuation calculations.
Note on B20: todo2085: Not just does it, but also where and how It would be managed
Note on B22: todo2085: What kind of sensitivity check are you proposing, that should be part of the design?

## 4. Discharge Proposals & Agreem
[7 empty] | Developer Response |  |  |  |  | Local Authority Review
4. SuDS Discharge Proposals & Agreements |  |  | Details Required For: |  |  |  | Current Submission Stage: |  |  |  | Developer's response including reference to supporting information and documents | Local Authority Review Comments | Acceptable Y / N / TBC
|  |  | Pre-Application | Minor Development | Outline | Full | Pre-Application | Minor Application | Outline | Full
Ref. | Required Details Please provide all relevant details. Insufficient detail or evidence may lead to delay or refusal. | Cheshire Councils SuDS Guidance Reference |  | Minor Applications |  |  |  | Minor Applications
4.1 | ALL PROPOSALS
4.1.1 | What is the level of hazard associated with surface runoff. (Developer to confirm low, medium or high) | Volume 1. Section 4.7.8 | ü | ü | ü | ü
4.1.2 | Confirm how is runoff to be discharged? (Developer to complete Section 4.2, 4.3 or 4.4) | Volume 1. Section 4 | C | ü | ü | ü
4.1.3 | Please detail how proposed SuDS proposals take account of the runoff destination triangle? (Developer to confirm) | Volume 1. Section 4.4 | C | ü | ü | ü
4.1.4 | Confirm Permits to discharge and Consents. (Provide response letter/email) | Volume 1. Section 4.6.2 | C | ü | ü | ü
4.1.5 | Provide details of Consultation with Local Authority | Volume 1. Section 3 | ü | ü | ü | ü
4.1.6 | Provide evidence been provided of formal consultation with the Council Planning Department or the Council Pre-Planning Advice Service? | Volume 1. Section 3 | ü | ü | ü | ü
4.2 | PROPOSED DISCHARGE TO GROUND
4.2.1 | What infiltration method or methods are proposed? (To include appropriate plans and supporting documents and reports) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.2.2 | Soakaway testing in accordance with ‘BRE Digest 365: Soakaway Design’. (Provide details and summary) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.2.3 | Confirmation of groundwater levels? (Provide details) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.2.4 | Provide evidence of formal consultation with the Environment Agency regarding the presence of aquifers, groundwater and potable water? (Provide response letter/email) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.2.5 | Provide evidence of formal consultation with the National Coal Authority regarding the presence of coal and mining activities. (Provide response letter/email) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.2.6 | Where appropriate, provide evidence of formal consultation with the Cheshire Brine Subsidence Compensation Board regarding the presence of salt mining or brine pumping activities. (Provide response letter/email) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.2.7 | Provide evidence of formal consultation with the British Geological Survey regarding contaminated land been provided? (Provide response letter/email) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.2.8 | Provide evidence of consultation regarding waterbody sensitivity / landscape designations i.e. SSSI. OR confirmation that this is not applicable? (Provide supporting information) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.2.9 | What level of surface water treatment is proposed? (Provide supporting information) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.2.10 | Confirm agreements with any 3rd party land owners? (Provide response letter/email) | Volume 1. Section 4 & 5 | ü | ü | ü | ü
4.2.11 | Details of risk assessment assessing potential impacts on buildings or other structures of proposed discharge method? (Provide supporting information) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.3 | PROPOSED DISCHARGE TO SURFACE WATER BODIES INCLUDING CULVERTED WATERCOURSES
4.3.1 | What discharge method or methods are proposed? (To include appropriate plans and supporting documents and reports) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.3.2 | Is proposed discharge to a main river or ordinary watercourse? (To include supporting documents and mapping) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.3.3 | As part of the site specific FRA, confirm impacts on the receiving watercourse. Interactions need to be fully appraised to ensure that surface water runoff is effectively managed without increasing flood risk elsewhere. (Provide FRA, details and summary) | Volume 1. Section 3.3 | C | ü | ü | ü
4.3.4 | Provide evidence of consultation regarding waterbody sensitivity / landscape designations i.e. SSSI. OR confirmation demonstrating that this is not applicable? (Provide supporting information) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.3.5 | What level of surface water treatment is proposed? (Provide supporting information) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.3.6 | Confirm agreements with any 3rd party land owners. (Provide response letter/email) | Volume 1. Section 4 & 5 | ü | ü | ü | ü
4.3.7 | Provide evidence of formal consultation & agreement with the Environment Agency (for a main river) or Council (for an ordinary watercourse) regarding discharge volumes (Provide response letter/email) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.4 | PROPOSED DISCHARGE TO SURFACE WATER SEWER OR COMBINED SEWER OR CULVERT OR DRAIN
4.4.1 | What discharge method or methods are proposed? (To include appropriate plans and supporting documents and reports) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.4.2 | What level of surface water treatment is proposed? (Provide supporting information) | Volume 1. Section 4 & 5 | C | ü | ü | ü
4.4.3 | Confirm agreements with any 3rd party land owners. (Provide response letter/email) | Volume 1. Section 4 & 5 | ü | ü | ü | ü
4.4.4 | Provide evidence of formal consultation & agreement with United Utilities / Welsh Water / sewerage undertaker regarding discharge consent? (Provide response letter/email) | Volume 1. Section 4 & 5 | C | ü | ü | ü
Note on B13: todo2085: Why not the other RMAs?
Note on B26: todo2085: No sure what this is?
Note on B34: todo2085: Discharge to Canals, reservoirs, ponds?
Note on B36: todo2085: You meant connection points: surface water, combined etc?

## 5. SuDS Maintenance
[7 empty] | Developer Response |  |  |  |  | Local Authority Review
5. SuDS Maintenance & Management Proposals |  |  | Details Required For: |  |  |  | Current Submission Stage: |  |  |  | Developer's response including reference to supporting information and documents | Local Authority Review Comments | Acceptable Y / N / TBC
|  |  | Pre-Application | Minor Development | Outline | Full | Pre-Application | Minor Application | Outline | Full
Ref. | Required Details Please provide all relevant details. Insufficient detail or evidence may lead to delay or refusal. | Cheshire Councils SuDS Guidance Reference |  | Minor Applications |  |  |  | Minor Applications
5.1 | Provide and SuDS maintenance & management plan including schedule programme. (Provide supporting information) | Volume 1. Section 6 | C | ü | C | ü
5.2 | Confirm maintenance and management arrangements (Provide supporting information) | Volume 1. Section 6 | C | ü | C | ü
5.3 | Estimate of ongoing maintenance costs (Provide supporting information) | Volume 1. Section 6 | C | ü | C | ü
5.4 | Evidence of formal agreement with the party responsible for undertaking maintenance? (Provide supporting information) | Volume 1. Section 6 | C | ü | C | ü
5.5 | Full instructions for SuDS maintenance including repair and replacement requirements? (Provide supporting information) | Volume 1. Section 6 | C | ü | C | ü
Note on B10: todo2085: Will that the develop have at the point of planning application?
Note on B11: todo2085: As above?
Note on B12: todo2085: How is this different from 5.1

## Drop-Downs (hidden)
Acceptable
Yes
No
TBC